Question: The oxygen failure alarm in an operating theatre sounds. The anaesthetist switches to cylinder backup. The nurse's immediate role includes

(a) continuing the surgery unaffected and telling no one

(b) sending the patient back to the ward immediately

(c) disconnecting all monitors to save power

(d) supporting gas supply change, monitoring the patient and notifying engineering and the in-charge while documenting the event

Answer: d

Solution: ✅ Correct Answer: d. Supporting gas supply change, monitoring the patient and notifying engineering and the in-charge while documenting the event.

🧠 Clinical Rationale: Gas failure is a critical event needing coordinated backup, patient vigilance, notification and records 🚨.

🔍 Key Clues: Backup, monitor, report, record.

❌ Why Not Others: (a) unreported supply failures repeat; (b) intra-operative transport is dangerous and unwarranted; (c) monitoring is essential during any crisis.

⚡ 5-Second Recall: Gas fails: backup and report 🎯

📚 Ref: medical gas standards; OT emergency protocols.

Positive Marks: 1

Negative Marks: 0.33

Question: Suction in the operating room must be

(a) disconnected during surgery to reduce noise

(b) shared only from the ward when needed

(c) used without checking since it rarely fails

(d) available and tested before every case with a reserve unit ready

Answer: d

Solution: ✅ Correct Answer: d. Available and tested before every case with a reserve unit ready.

🧠 Clinical Rationale: Suction is lifesaving for airway and field clearance, so function testing and backup are part of the pre-case check 🩺.

🔍 Key Clues: Test suction, keep a spare.

❌ Why Not Others: (b) borrowing suction mid-crisis wastes critical minutes; (c) unchecked suction can fail silently; (a) suction is never disconnected for noise during surgery.

⚡ 5-Second Recall: Suction checked, backup ready 🎯

📚 Ref: WHO Surgical Safety Checklist principles; AORN guidance.

Positive Marks: 1

Negative Marks: 0.33

Question: The operation theatre table is best cleaned between patients by

(a) changing only the table sheet

(b) wiping all surfaces including table, attachments and rails with an approved disinfectant after visible soil removal

(c) spraying air freshener over the table

(d) wiping only the area that looks soiled

Answer: b

Solution: ✅ Correct Answer: b. Wiping all surfaces including table, attachments and rails with an approved disinfectant after visible soil removal.

🧠 Clinical Rationale: Between-case cleaning must cover the whole table and attachments, because invisible blood and skin debris carry infection risk 🧽.

🔍 Key Clues: Clean what you can see and cannot.

❌ Why Not Others: (a) the sheet alone leaves contaminated rails and pads; (c) deodorant is not disinfection; (d) visible checking misses microscopic contamination.

⚡ 5-Second Recall: Whole table, every case 🎯

📚 Ref: CDC environmental cleaning; AORN cleaning guidance.

Positive Marks: 1

Negative Marks: 0.33

Question: If the laminar airflow system fails mid-surgery in an implant case, the best action is

(a) leave the patient and repair the system first

(b) switch on ceiling fans as a substitute

(c) inform the surgeon and theatre in-charge, continue only if clinically safer to finish quickly, and document per policy

(d) ignore the failure and record nothing

Answer: c

Solution: ✅ Correct Answer: c. Inform the surgeon and theatre in-charge, continue only if clinically safer to finish quickly, and document per policy.

🧠 Clinical Rationale: Patient safety on the table comes first, but implant cases need the risk assessed, a decision documented and engineering notified ⚠️.

🔍 Key Clues: Tell, decide clinically, document.

❌ Why Not Others: (a) abandoning an anaesthetised patient is not an option; (b) fans worsen the airborne load; (d) undocumented failures hide equipment risks.

⚡ 5-Second Recall: Airflow fails: inform and document 🎯

📚 Ref: OT equipment policy; AORN guidance.

Positive Marks: 1

Negative Marks: 0.33

Question: Fire safety design in the operation theatre includes

(a) no training since fires are rare

(b) fire extinguishers appropriate for electrical and flammable risks, clear exits and staff trained in evacuation

(c) locked exits to prevent theft

(d) water buckets only as the sole provision

Answer: b

Solution: ✅ Correct Answer: b. Fire extinguishers appropriate for electrical and flammable risks, clear exits and staff trained in evacuation.

🧠 Clinical Rationale: Oxygen-rich atmospheres plus electrical and alcoholic prep create fire risk, so matched extinguishers, clear exits and drills are mandatory 🔥.

🔍 Key Clues: Right extinguisher, clear exit, drills.

❌ Why Not Others: (d) water is wrong on electrical fires; (c) locked exits trap patients and staff; (a) untrained staff panic in real events.

⚡ 5-Second Recall: Extinguisher, exit, drill 🎯

📚 Ref: fire safety standards for hospitals; NFPA principles.

Positive Marks: 1

Negative Marks: 0.33

Question: The correct way to pass through from the protective zone to the semi-restricted zone is

(a) change into theatre attire, cap and dedicated footwear in the changing area

(b) enter through the disposal corridor

(c) walk through in street clothes carrying the patient notes

(d) put on shoe covers while wearing outdoor shoes for the whole shift

Answer: a

Solution: ✅ Correct Answer: a. Change into theatre attire, cap and dedicated footwear in the changing area.

🧠 Clinical Rationale: Full attire change including footwear and hair cover is the entry requirement into semi-restricted areas 👔.

🔍 Key Clues: Change clothes and shoes at entry.

❌ Why Not Others: (c) notes travel in clean carriers, but street clothes never cross; (d) covers over outdoor shoes tracked through zones is not acceptable attire change; (b) the dirty corridor is an exit route.

⚡ 5-Second Recall: Attire change marks the boundary 🎯

📚 Ref: AORN attire guideline; NABH standards.

Positive Marks: 1

Negative Marks: 0.33

Question: Before the first operation of the day, the operation theatre air handling should be

(a) run for the pre-start period specified by policy so clean air conditions are established

(b) run only when laminar flow theatres are used

(c) switched on after the patient enters

(d) kept off to save electricity

Answer: a

Solution: ✅ Correct Answer: a. Run for the pre-start period specified by policy so clean air conditions are established.

🧠 Clinical Rationale: Ventilation needs a run-up to reach steady clean air states, so units start systems before the first case 🌅.

🔍 Key Clues: Air on before patients in.

❌ Why Not Others: (c) starting late means surgery begins in unconditioned air; (d) energy saving never overrides air quality; (b) conventional theatres need the same pre-start discipline.

⚡ 5-Second Recall: Air first, surgery second 🎯

📚 Ref: ASHRAE 170; local OT policy standards.

Positive Marks: 1

Negative Marks: 0.33

Question: Traffic through the operating room during surgery should be

(a) unlimited for educational observers

(b) minimised with entry only for those performing essential tasks

(c) allowed through the shortest path across the sterile field

(d) encouraged so the team stays alert

Answer: b

Solution: ✅ Correct Answer: b. Minimised with entry only for those performing essential tasks.

🧠 Clinical Rationale: Movement and door opening raise airborne contamination, so traffic is restricted to essential personnel 🚫.

🔍 Key Clues: Fewer bodies, cleaner air.

❌ Why Not Others: (a) observers must be limited and positioned; (d) more traffic means more contamination, not alertness; (c) paths cross the sterile field never.

⚡ 5-Second Recall: No visitors during cutting 🎯

📚 Ref: CDC SSI guideline; AORN traffic control.

Positive Marks: 1

Negative Marks: 0.33

Question: Ceiling-mounted pendants in modern operating theatres exist to

(a) carry gases, power and lighting safely off the floor and keep cables away from staff feet

(b) hang decorations during festivals

(c) support the surgical drapes

(d) hold the patient monitoring in the corridor

Answer: a

Solution: ✅ Correct Answer: a. Carry gases, power and lighting safely off the floor and keep cables away from staff feet.

🧠 Clinical Rationale: Pendants organise services overhead, reduce trip hazards and allow flexible equipment positioning around the table 🎐.

🔍 Key Clues: Services from the ceiling, floor clear.

❌ Why Not Others: (b) decorations are not a design function; (c) drapes attach to the patient and table; (d) monitors belong in the operating room.

⚡ 5-Second Recall: Pendants lift the clutter 🎯

📚 Ref: OT design standards.

Positive Marks: 1

Negative Marks: 0.33

Question: The semi-restricted area of the operation theatre complex is where

(a) only the sterile team stands during surgery

(b) waste is stored before final removal

(c) anyone in street clothes may enter freely

(d) personnel in theatre attire may move, such as corridors around operating rooms and the scrub area

Answer: d

Solution: ✅ Correct Answer: d. Personnel in theatre attire may move, such as corridors around operating rooms and the scrub area.

🧠 Clinical Rationale: The semi-restricted zone demands theatre attire and traffic limits but not full sterile technique, sitting between protective and sterile zones 🚶.

🔍 Key Clues: Attire yes, sterility not yet.

❌ Why Not Others: (c) street clothes stop at the protective zone; (a) the sterile team works in the sterile zone; (b) waste staging belongs to the disposal area.

⚡ 5-Second Recall: Semi-restricted: scrubs required 🎯

📚 Ref: AORN zoning definitions; NABH standards.

Positive Marks: 1

Negative Marks: 0.33

Question: The air quality standard for an ultraclean ventilated theatre delivering air over the wound uses

(a) open windows for cross ventilation

(b) HEPA-filtered unidirectional laminar airflow over the operative field

(c) table fans pointed at the surgeon

(d) ordinary split air conditioning

Answer: b

Solution: ✅ Correct Answer: b. HEPA-filtered unidirectional laminar airflow over the operative field.

🧠 Clinical Rationale: HEPA filtration with unidirectional flow achieves ultraclean air over the wound, the highest theatre air class 🌬️.

🔍 Key Clues: HEPA plus one-way flow equals ultraclean.

❌ Why Not Others: (d) split units do not filter to theatre grade; (c) fans generate turbulence and particle mixing; (a) open windows introduce uncontrolled air.

⚡ 5-Second Recall: HEPA laminar: ultraclean 🎯

📚 Ref: ASHRAE 170; orthopaedic ventilation literature.

Positive Marks: 1

Negative Marks: 0.33

Question: The main route by which surgical site infection bacteria reach the wound from theatre air is

(a) skin squames shed from personnel

(b) water droplets from cleaning

(c) instruments supplied by CSSD

(d) the patient's own bowel flora during abdominal surgery only

Answer: a

Solution: ✅ Correct Answer: a. Skin squames shed from personnel.

🧠 Clinical Rationale: Airborne squames carrying staphylococci are the dominant airborne source, which is why staff numbers, attire and airflow matter 🚶.

🔍 Key Clues: People shed the bacteria that float.

❌ Why Not Others: (d) bowel contamination is direct inoculation, not the airborne route; (b) wet cleaning reduces dust, not a main SSI route; (c) sterilised instruments are not an airborne source.

⚡ 5-Second Recall: Squames spread through air 🎯

📚 Ref: CDC SSI guideline; theatre ventilation literature.

Positive Marks: 1

Negative Marks: 0.33

Question: Wall and floor finishes inside the sterile zone should be

(a) textured tiles with open joints

(b) bare concrete with annual painting

(c) smooth, seamless, impervious and easy to clean with coved junctions

(d) carpet for noise reduction

Answer: c

Solution: ✅ Correct Answer: c. Smooth, seamless, impervious and easy to clean with coved junctions.

🧠 Clinical Rationale: Impervious seamless surfaces prevent dust traps and withstand repeated disinfection, and coved corners remove right-angle dirt collection 🧱.

🔍 Key Clues: Smooth, sealed, washable everywhere.

❌ Why Not Others: (a) open joints harbour organisms and shed particles; (b) bare porous concrete cannot be disinfected; (d) carpet is prohibited in sterile areas as it traps moisture and microbes.

⚡ 5-Second Recall: Seamless walls, coved corners 🎯

📚 Ref: NABH OT standards; CDC environmental guidance.

Positive Marks: 1

Negative Marks: 0.33

Question: The disposal zone of an OT complex is designed to

(a) store sterile supplies long term

(b) house the operating table between cases

(c) provide staff rest and meals

(d) receive used instruments, soiled linen and waste for exit without crossing clean areas

Answer: d

Solution: ✅ Correct Answer: d. Receive used instruments, soiled linen and waste for exit without crossing clean areas.

🧠 Clinical Rationale: A separate dirty corridor lets contaminated items leave without recrossing sterile zones, completing the unidirectional flow ♻️.

🔍 Key Clues: Dirty exit never crosses clean.

❌ Why Not Others: (b) tables stay in operating rooms; (c) staff facilities belong to outer zones; (a) sterile storage is a clean supply function.

⚡ 5-Second Recall: Dirty path stays separate 🎯

📚 Ref: NABH OT standards.

Positive Marks: 1

Negative Marks: 0.33

Question: Windows in the operating theatre sterile zone should be

(a) openable for fresh air

(b) covered with curtains only

(c) sealed without openings to control airflow and contamination

(d) fitted with fans for cooling

Answer: c

Solution: ✅ Correct Answer: c. Sealed without openings to control airflow and contamination.

🧠 Clinical Rationale: Openable windows break the pressure cascade and admit unfiltered air, insects and dust, so sterile-zone windows are sealed 🪟.

🔍 Key Clues: Sealed windows, engineered air only.

❌ Why Not Others: (a) openable windows contaminate the controlled environment; (d) fans stir dust and disrupt airflow; (b) curtains neither seal nor filter.

⚡ 5-Second Recall: OT windows never open 🎯

📚 Ref: NABH OT standards; ASHRAE 170.

Positive Marks: 1

Negative Marks: 0.33

Question: Doors of an active operating room should be kept

(a) opened by anyone who wishes at any time

(b) propped open for easy access

(c) closed to maintain pressure gradients and airflow patterns

(d) open whenever the laminar flow is on

Answer: c

Solution: ✅ Correct Answer: c. Closed to maintain pressure gradients and airflow patterns.

🧠 Clinical Rationale: Open doors collapse the pressure differential and pull contaminated corridor air across the sterile field, measurably raising particle counts 🚪.

🔍 Key Clues: Closed doors keep the gradient.

❌ Why Not Others: (b) propping doors defeats the design; (d) laminar flow does not license open doors; (a) uncontrolled traffic is a proven contamination source.

⚡ 5-Second Recall: Shut the OT door 🎯

📚 Ref: CDC environmental guidance; theatre ventilation studies.

Positive Marks: 1

Negative Marks: 0.33

Question: Walls and ceilings of the operating theatre are cleaned on a schedule that is typically

(a) weekly or as per policy, with immediate spot cleaning after contamination

(b) never, since air filtration keeps them clean

(c) daily full-scrub with water flushing

(d) once every five years

Answer: a

Solution: ✅ Correct Answer: a. Weekly or as per policy, with immediate spot cleaning after contamination.

🧠 Clinical Rationale: Ceilings and walls collect less soil than floors but need scheduled damp cleaning plus immediate attention to splashes 🧽.

🔍 Key Clues: Scheduled walls, instant splashes.

❌ Why Not Others: (d) five years allows heavy microbial build-up; (c) water flushing risks moisture damage and is unnecessary; (b) filtration does not clean surfaces.

⚡ 5-Second Recall: Walls weekly, spills now 🎯

📚 Ref: CDC environmental cleaning guidance.

Positive Marks: 1

Negative Marks: 0.33

Question: Terminal cleaning of an operating theatre means

(a) repainting the walls every day

(b) the deep clean of the whole room after the last case including lights, tables, trolleys and equipment surfaces

(c) cleaning only the floor after each case

(d) removing all equipment permanently from the theatre

Answer: b

Solution: ✅ Correct Answer: b. The deep clean of the whole room after the last case including lights, tables, trolleys and equipment surfaces.

🧠 Clinical Rationale: Terminal cleaning resets the room environmentally each day, reaching surfaces that between-case cleaning misses 🌙.

🔍 Key Clues: Last case: deep clean everything.

❌ Why Not Others: (d) equipment is cleaned in place, not removed; (a) daily repainting is impractical; (c) floor-only cleaning is between-case standard, not terminal.

⚡ 5-Second Recall: Day ends, deep clean 🎯

📚 Ref: CDC environmental infection control; AORN cleaning standards.

Positive Marks: 1

Negative Marks: 0.33

Question: Storage inside the operating room itself should be

(a) used to store cleaning trolleys permanently

(b) filled with spare stock on open shelves

(c) avoided so nothing can be found during surgery

(d) minimal, with only case-needed items, in closed cupboards or shelving that is easy to clean

Answer: d

Solution: ✅ Correct Answer: d. Minimal, with only case-needed items, in closed cupboards or shelving that is easy to clean.

🧠 Clinical Rationale: Clutter collects dust, blocks cleaning and raises particle load, so the operating room stores only what the case needs 🗄️.

🔍 Key Clues: Bare, closed, cleanable.

❌ Why Not Others: (b) open stockpiled shelves shed and collect dust; (a) cleaning trolleys live in service areas; (c) essential items must still be reachable quickly.

⚡ 5-Second Recall: Empty OR is clean OR 🎯

📚 Ref: NABH OT standards; AORN design guidance.

Positive Marks: 1

Negative Marks: 0.33

Question: The recommended relative humidity for an operating theatre is approximately

(a) 80 to 90 per cent

(b) humidity does not matter in theatres

(c) 50 to 60 per cent

(d) 20 to 30 per cent

Answer: c

Solution: ✅ Correct Answer: c. 50 to 60 per cent.

🧠 Clinical Rationale: Moderate humidity suppresses static electricity and bacterial dispersal while keeping staff comfortable, and 50 to 60 per cent is the standard band 💧.

🔍 Key Clues: Half-and-half humidity: 50 to 60.

❌ Why Not Others: (d) dry air raises static discharge risk near flammable agents; (a) very humid air encourages microbial growth and corrosion; (b) humidity is actively monitored as a theatre environmental control.

⚡ 5-Second Recall: OT humidity: 50 to 60 per cent 🎯

📚 Ref: NABH standards; ASHRAE guidance.

Positive Marks: 1

Negative Marks: 0.33