Question: A nurse collects blood for serum electrolytes. Which tube should be used and what is the key difference from plasma?

(a) Plain red-top tube without anticoagulant; serum lacks fibrinogen after clotting

(b) Sodium citrate tube; serum contains platelets

(c) Heparin tube; serum contains fibrinogen

(d) EDTA tube; plasma contains fibrinogen

Answer: a

Solution: ✅ Correct: Serum = clotted blood, no anticoagulant; fibrinogen consumed in clot, so serum lacks fibrinogen while plasma retains it.

🧠 Concept: Serum = Plasma minus Fibrinogen + clotting factors consumed; plain/red tube for most biochemistry.

❌ Eliminate: EDTA/heparin/citrate give plasma, not serum; serum never contains platelets/fibrinogen.

⚡ NORCET Trick: Emergency analytes prefer heparin-plasma (no 30-min clotting wait); routine chemistry prefers serum.

Positive Marks: 1

Negative Marks: 0

Question: For arterial blood gas (ABG) analysis, which specimen is required and why?

(a) Clotted serum sample to measure bicarbonate accurately

(b) Heparinized whole blood/plasma sample without clotting to preserve dissolved gases and pH

(c) EDTA plasma to prevent glycolysis

(d) Fluoride blood to stabilize oxygen

Answer: b

Solution: ✅ Correct: ABG needs lithium-heparin syringe, air-free, analyzed immediately; clotting consumes gases and alters pH.

🧠 Concept: Heparin prevents clotting without altering gases; serum cannot be used for ABG/blood gases.

❌ Eliminate: Serum/EDTA/fluoride alter pH, chelate calcium or delay analysis and are never used for ABG.

⚡ NORCET Trick: ABG heparin + ice + no air bubble + immediate analysis — asked as one-line best choice.

Positive Marks: 1

Negative Marks: 0

Question: Serum potassium is 5.8 mEq/L but plasma potassium from heparin tube is 4.3 mEq/L in same patient. Most likely explanation is:

(a) Laboratory error in calibration

(b) Platelet rupture during clotting releases intracellular K+ causing higher serum value

(c) EDTA contamination causes hypokalemia

(d) Heparin causes pseudohyperkalemia

Answer: b

Solution: ✅ Correct: During clotting platelets release K+, so serum K+ is 0.3-0.5 mEq/L higher than plasma; marked difference suggests thrombocytosis/pseudohyperkalemia.

🧠 Concept: Intracellular K+ 150 vs extracellular 4.5 — any cell lysis/clotting raises measured K+.

❌ Eliminate: Heparin does not raise K+; EDTA raises K+ falsely (contains K+), not lowers; calibration affects both equally.

⚡ NORCET Trick: Thrombocytosis + high serum K+ with normal plasma K+ = pseudohyperkalemia, do not treat, repeat with plasma.

Positive Marks: 1

Negative Marks: 0

Question: A doctor orders fasting lipid profile and fasting blood sugar. The nurse instructs the patient correctly as:

(a) No food for 2 hours, tea allowed

(b) 8-12 hours overnight fast, plain water allowed, no tea/coffee/alcohol, morning sample

(c) 24-hour complete starvation including water

(d) Light breakfast allowed, avoid only sweets

Answer: b

Solution: ✅ Correct: 8-12 hr fast required for triglycerides and FBS; water permitted, caffeine/smoking/alcohol avoided.

🧠 Concept: Chylomicrons persist 6-8 hr after fat meal → falsely high triglycerides and glucose if non-fasting.

❌ Eliminate: 2-hr/light breakfast invalidates fasting; water restriction is never required and causes dehydration.

⚡ NORCET Trick: HbA1c, random glucose, HDL-cholesterol do NOT need fasting — FBS, triglycerides DO.

Positive Marks: 1

Negative Marks: 0

Question: Which of the following tests does NOT require fasting and can be collected at any time?

(a) Fasting plasma glucose

(b) Oral glucose tolerance test baseline

(c) HbA1c and random blood glucose for emergency screening

(d) Triglycerides for pancreatitis risk assessment

Answer: c

Solution: ✅ Correct: HbA1c reflects 8-12 weeks glycation and random glucose reflect acute status; no fasting needed.

🧠 Concept: Fasting-dependent = FBS, triglycerides, GTT; fasting-independent = HbA1c, RBS, most electrolytes/enzymes.

❌ Eliminate: FBS/GTT/triglycerides strictly need 8-12 hr fast; non-fasting gives false high and misdiagnosis.

⚡ NORCET Trick: NORCET asks reverse — “which needs NO fasting?” Answer is almost always HbA1c.

Positive Marks: 1

Negative Marks: 0

Question: A biochemistry report shows K+ 6.9, LDH very high, AST high, but ECG and clinical status are normal. Sample is pink-red. Next nursing action is:

(a) Put sample in refrigerator and send later

(b) Inform doctor for urgent calcium gluconate and insulin-glucose for hyperkalemia

(c) Identify hemolysis, reject sample and recollect fresh sample with correct technique

(d) Repeat same hemolyzed sample to confirm potassium

Answer: c

Solution: ✅ Correct: Pink-red serum = hemolysis; RBC lysis releases K+, LDH, AST, phosphate falsely high — result invalid, must recollect, do not treat.

🧠 Concept: Hemolyzed = K+, LDH, AST, Mg, phosphate ↑; haptoglobin ↓; never report/act on hemolyzed K+.

❌ Eliminate: Treating pseudohyperkalemia causes fatal hypokalemia; repeating same sample or delaying worsens error.

⚡ NORCET Trick: Normal ECG + very high K+ + pink serum = hemolysis/pseudohyperkalemia, not true emergency.

Positive Marks: 1

Negative Marks: 0

Question: The most common preventable cause of hemolysis during venous blood collection by a nurse is:

(a) Transporting sample upright at room temperature

(b) Collecting in correct volume vacuum tube

(c) Prolonged tourniquet >1 min, forcing blood through narrow 24G needle, vigorous shaking/foaming

(d) Using large-bore 20G needle with gentle transfer

Answer: c

Solution: ✅ Correct: Shear stress from narrow needle, prolonged stasis, syringe foaming and vigorous mixing rupture RBCs.

🧠 Concept: Correct technique = 20-22G, tourniquet <1 min, release before withdrawal, gentle 5-8 inversions, no shaking.

❌ Eliminate: Large-bore + gentle handling prevents hemolysis; upright transport and correct volume are correct practices.

⚡ NORCET Trick: “Vigorous shaking + thin needle + tight tourniquet” = hemolysis triad in every NORCET option.

Positive Marks: 1

Negative Marks: 0

Question: Hemolysis will cause falsely decreased value of which analyte?

(a) Potassium, as it enters RBCs

(b) Total bilirubin, as hemoglobin interferes negatively

(c) LDH, as it is destroyed by hemolysis

(d) Haptoglobin, as it binds free hemoglobin and is consumed

Answer: d

Solution: ✅ Correct: Free Hb binds haptoglobin → haptoglobin-hemopexin complex cleared, so measured haptoglobin falls; all intracellular analytes rise.

🧠 Concept: Hemolysis ↑ K+, LDH, AST, phosphate; ↓ haptoglobin; bilirubin may falsely ↑ due to spectral interference.

❌ Eliminate: K+/LDH/bilirubin rise, never fall, in hemolysis — only haptoglobin falls by consumption.

⚡ NORCET Trick: Low haptoglobin + high LDH + high indirect bilirubin = hemolysis triad, also in hemolytic anemia.

Positive Marks: 1

Negative Marks: 0

Question: Correct order of draw using vacutainer for blood culture, coagulation, biochemistry and CBC is:

(a) EDTA first, then citrate, then serum, then blood culture

(b) Fluoride first, then EDTA, then culture to save time

(c) Blood culture first, then light-blue citrate, then red serum, then green heparin, then lavender EDTA, then grey fluoride

(d) Any order is acceptable if tubes are filled correctly

Answer: c

Solution: ✅ Correct: Sterile culture first to avoid contamination, then citrate (clot-sensitive), then serum/heparin/EDTA/fluoride to avoid additive carryover.

🧠 Concept: Mnemonic — Culture-Blue-Red-Green-Lavender-Grey; EDTA contaminates calcium/potassium if drawn early.

❌ Eliminate: EDTA/fluoride first contaminates later tubes with K+/oxalate/fluoride → false coagulation/electrolyte results.

⚡ NORCET Trick: Citrate tube must be filled to mark (9:1 ratio); underfilled = falsely prolonged PT/aPTT.

Positive Marks: 1

Negative Marks: 0

Question: A nurse is timing specimens correctly. Which pairing of test and correct timing is accurate?

(a) Serum cortisol — 8 AM morning peak; drug trough — just before next dose

(b) OGTT 2-hr sample — 2 hours after admission irrespective of glucose drink

(c) Serum cortisol — midnight sample; TDM digoxin — immediately after dose

(d) Postprandial glucose — immediately after meal; lipid profile — evening

Answer: a

Solution: ✅ Correct: Cortisol has diurnal rhythm (peak 6-8 AM, nadir midnight); trough level before next dose reflects clearance, peak after absorption.

🧠 Concept: Timing-sensitive = cortisol/ACTH (AM), TDM peak/trough, GTT/PPBS timed from meal/glucose load, therapeutic drug monitoring.

❌ Eliminate: Midnight cortisol only for Cushing screening; peak never immediately post-dose; PPBS = 2 hr after meal start.

⚡ NORCET Trick: Trough = before next dose, Peak = 1-2 hr post-dose (drug-specific) — direct NORCET one-liner.

Positive Marks: 1

Negative Marks: 0

Question: As per NABL/patient-safety standards, correct labeling of a biochemistry blood sample by the nurse is:

(a) Label at bedside immediately after collection in presence of patient with two identifiers, date, time and collector initials

(b) Label only with bed number and ward name

(c) Label at nursing station from memory after sending patient

(d) Pre-label tubes before patient arrival to save time

Answer: a

Solution: ✅ Correct: Bedside labeling after collection prevents wrong-patient error; needs name + UHID/DOB + test + date/time + signature.

🧠 Concept: Two identifiers + bedside + before leaving patient = zero tolerance for pre/post-labeling away from patient.

❌ Eliminate: Pre-labeling and station labeling cause swap errors; bed number alone is never an identifier (changes daily).

⚡ NORCET Trick: Unlabeled/mislabeled = automatic rejection and recollection, never stick a new label.

Positive Marks: 1

Negative Marks: 0

Question: Accepted two identifiers for patient identification before specimen collection are:

(a) Ward name and age approximate

(b) Full name + UHID/hospital ID or date of birth, verified verbally with conscious patient and wristband

(c) Disease diagnosis and doctor name

(d) Bed number and room number

Answer: b

Solution: ✅ Correct: NABH/NABL mandate two person-specific identifiers — name + UHID/DOB/barcode, cross-checked with wristband.

🧠 Concept: Location or diagnosis are not identifiers; active verification (ask, don’t prompt) prevents wrong-patient phlebotomy.

❌ Eliminate: Bed/room/ward/diagnosis change or duplicate — never acceptable as identifiers.

⚡ NORCET Trick: “Which is NOT an identifier?” Answer is always bed number/room number.

Positive Marks: 1

Negative Marks: 0

Question: A ward boy brings an unlabeled serum tube to the lab. Lab rejects it. Correct nursing response is:

(a) Stick a new label based on memory and resend same tube

(b) Ask lab to test and match later with register

(c) Transfer blood from another patient’s tube with same test

(d) Discard/reject, recollect fresh sample with correct bedside identification and labeling

Answer: d

Solution: ✅ Correct: Unlabeled/misidentified specimens carry fatal transfusion/medication risk — only safe action is recollection.

🧠 Concept: Never relabel, never test unlabeled; document incident as pre-analytical error and inform in-charge.

❌ Eliminate: Retrospective labeling or sharing samples is professional misconduct and causes wrong diagnosis/treatment.

⚡ NORCET Trick: NORCET ethics rule — “recollect, never relabel” for any ID doubt.

Positive Marks: 1

Negative Marks: 0

Question: A nurse collects ABG and blood lactate. Correct transport is:

(a) Transport immediately on ice slurry without delay, air-free heparin syringe for ABG, chilled fluoride for lactate

(b) Keep at room temperature for 4 hours then send in bulk

(c) Refrigerate overnight and send next morning

(d) Expose to sunlight to keep warm

Answer: a

Solution: ✅ Correct: Ongoing glycolysis and metabolism alter gases/glucose/lactate within minutes; ice slows metabolism, speed preserves accuracy.

🧠 Concept: Ice-required = ABG, lactate, pyruvate, ammonia; light-protected = bilirubin, vitamins; warm = cryoglobulin.

❌ Eliminate: Room-temp delay causes ↓ glucose/pH/O2, ↑ lactate/K+/CO2; sunlight destroys bilirubin.

⚡ NORCET Trick: Delay → low glucose + high potassium/lactate due to Na-K pump failure and glycolysis.

Positive Marks: 1

Negative Marks: 0

Question: Blood for glucose estimation is delayed 3 hours before separation. Expected change will be:

(a) No change if tube is shaken well

(b) Increased HbA1c immediately

(c) Falsely decreased glucose by 5-7% per hour due to glycolysis by RBCs, with increased lactate

(d) Increased glucose due to hemoconcentration

Answer: c

Solution: ✅ Correct: RBCs consume glucose even in vitro; delay without fluoride/separation causes pseudohypoglycemia and reciprocal lactate rise.

🧠 Concept: Separate serum within 30-60 min or use fluoride-oxalate (grey top); HbA1c unaffected acutely.

❌ Eliminate: Glucose never rises on standing; shaking worsens hemolysis; HbA1c reflects weeks, not hours.

⚡ NORCET Trick: Low glucose + delayed transport = repeat with grey-top/rapid separation, not insulin adjustment.

Positive Marks: 1

Negative Marks: 0

Question: For serum bilirubin in a neonate, the nurse must:

(a) Freeze whole blood with cells intact for one week

(b) Collect in transparent tube and transport in sunlight

(c) Collect after phototherapy without noting time

(d) Protect sample from light, transport promptly, avoid hemolysis, separate serum early

Answer: d

Solution: ✅ Correct: Bilirubin is photosensitive (photo-oxidation lowers value); hemolysis interferes spectrally; note phototherapy status.

🧠 Concept: Light-protected amber wrap + rapid analysis; prolonged storage/hemolysis invalidates neonatal jaundice decision.

❌ Eliminate: Sunlight/light exposure falsely lowers bilirubin → missed exchange transfusion; freezing whole blood lyses cells.

⚡ NORCET Trick: Bilirubin + vitamins A/C + porphyrins = always “protect from light.”

Positive Marks: 1

Negative Marks: 0

Question: Lab calls: “Serum potassium 6.4 mEq/L — critical.” Correct nurse action regarding critical-value communication is:

(a) Tell attendant verbally without documentation

(b) Note value, patient ID, time, receiver name, read-back confirmation, inform doctor immediately within 30 min and document

(c) Repeat test after 24 hours routinely

(d) Wait for routine rounds next morning to inform

Answer: b

Solution: ✅ Correct: Critical/panic values threaten life; closed-loop read-back + rapid (<30 min) doctor notification + SBAR + documentation is mandatory.

🧠 Concept: Typical critical: K+ <2.8/>6.0, Na <120/>160, glucose <40/>500, Ca <7/>13, pH <7.2/>7.6, Hb <7/>20.

❌ Eliminate: Delay, informal handover without read-back/documentation violates NABH and risks cardiac arrest.

⚡ NORCET Trick: Critical call must include who called, what value, read-back, time, action — asked as audit question.

Positive Marks: 1

Negative Marks: 0

Question: Which statement about critical-value policy is true for nurses?

(a) If patient looks well, critical value can be ignored

(b) Only doctor needs to document; nurse has no role after receiving call

(c) Critical values can be communicated by SMS to any number without confirmation

(d) Receiver must write down, read back to confirm, notify treating physician urgently, initiate protocol and document notification and action

Answer: d

Solution: ✅ Correct: Read-back prevents sound-alike errors; nurse activates emergency response (ECG, calcium/insulin for hyperkalemia, D50 for hypoglycemia) and records.

🧠 Concept: Closed-loop = call → write → read-back → inform → act → document → follow-up repeat sample.

❌ Eliminate: Clinical look never overrides lab panic value; unconfirmed SMS and no documentation are unsafe and auditable failures.

⚡ NORCET Trick: NORCET links critical value + hyperkalemia ECG (peaked T, wide QRS) in same scenario.

Positive Marks: 1

Negative Marks: 0

Question: In quality control, Levey-Jennings chart with Westgard rules is used to:

(a) Calculate patient’s reference range directly

(b) Communicate critical values

(c) Transport samples safely

(d) Monitor daily internal QC to detect analytical error and accept/reject analytical run before reporting patient results

Answer: d

Solution: ✅ Correct: IQC with control sera plotted daily; 1-2s warning, 1-3s/R-4s/2-2s violations = systematic/random error, reject run.

🧠 Concept: IQC = precision daily; EQAS/external = accuracy comparison; both mandatory for NABL before patient reporting.

❌ Eliminate: Reference range is population-derived, not QC-derived; transport/critical calls are separate pre/post-analytical steps.

⚡ NORCET Trick: 1-3s rule violation = random error, must stop reporting — favourite NORCET QC one-liner.

Positive Marks: 1

Negative Marks: 0

Question: Reference interval for most biochemistry analytes is defined as:

(a) Central 95% of healthy reference population, usually mean ± 2 SD, so 5% healthy fall outside by definition

(b) Same fixed value for all ages, sex and pregnancy

(c) Minimum to maximum ever observed in any patient

(d) Mean ± 3 SD covering 99.7% of sick patients

Answer: a

Solution: ✅ Correct: Reference range = 2.5th–97.5th percentile of healthy; 5% normal flagged abnormal, needs clinical correlation, delta check and age/sex-specific ranges.

🧠 Concept: Affected by age, sex, pregnancy, posture, diurnal rhythm, fasting, method — use lab-specific intervals, not textbook alone.

❌ Eliminate: Min-max/sick-population/single fixed range misclassifies; ±3SD is too wide for clinical decision.

⚡ NORCET Trick: Slightly out-of-range in asymptomatic patient = recheck clinically, not immediate treatment — tests delta-check concept.

Positive Marks: 1

Negative Marks: 0