Question: Which action demonstrates correct handling of the arterial line during patient repositioning

(a) clamp the arterial line for the entire shift

(b) disconnect the tubing to allow free movement

(c) leave the transducer on the pillow

(d) keep the transducer at phlebostatic level, secure the tubing and re-zero if the system was opened

Answer: d

Solution: ✅ Correct Answer: d. Keep the transducer at phlebostatic level, secure the tubing and re-zero if the system was opened.

🧠 Clinical Rationale: Maintaining level and integrity prevents inaccurate readings and disconnection during movement 🩸.

🚨 Priority Principle: Move the patient, protect the line.

❌ Why Not Others: (c) pillow placement changes the reference height; (b) disconnecting risks bleeding and air entry; (a) clamping for hours prevents monitoring and thromboses the line.

⚡ 5-Second Recall: Reposition and re-level 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: An under-damped arterial system will

(a) underestimate the systolic pressure

(b) show no waveform at all

(c) produce a flat trace

(d) overshoot the systolic pressure and underestimate the diastolic pressure

Answer: d

Solution: ✅ Correct Answer: d. Overshoot the systolic pressure and underestimate the diastolic pressure.

🧠 Clinical Rationale: Excess resonance amplifies the systolic peak and creates a falsely narrow or distorted trace 🩸.

🔍 Key Clues: Under-damped: overshoots.

❌ Why Not Others: (a) underestimation of systolic occurs with over-damping; (c) a flat trace indicates obstruction or blood in the tubing; (b) absence of a trace suggests disconnection.

⚡ 5-Second Recall: Under-damped: systolic over-read 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: In a ventilated patient, central venous pressure is best measured

(a) during coughing

(b) during a sigh breath

(c) at the peak of inspiration

(d) at end-expiration, when intrathoracic pressure is closest to baseline

Answer: d

Solution: ✅ Correct Answer: d. At end-expiration, when intrathoracic pressure is closest to baseline.

🧠 Clinical Rationale: Positive pressure ventilation raises intrathoracic pressure, so end-expiratory values best approximate filling pressure 🫀.

🔍 Key Clues: Ventilated CVP: read at end-expiration.

❌ Why Not Others: (c) inspiratory readings are falsely high; (b) sigh breaths alter intrathoracic pressure unpredictably; (a) coughing spikes pressure transiently.

⚡ 5-Second Recall: End-expiration for CVP 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: In the arterial waveform, the dicrotic notch represents

(a) closure of the aortic valve

(b) opening of the aortic valve

(c) the beginning of atrial contraction

(d) the peak of ventricular contraction

Answer: a

Solution: ✅ Correct Answer: a. Closure of the aortic valve.

🧠 Clinical Rationale: The dicrotic notch marks aortic valve closure and the start of diastole in the arterial trace 🫀.

🔍 Key Clues: Notch equals valve closure.

❌ Why Not Others: (b) valve opening corresponds to the upstroke; (d) the peak is the systolic upstroke maximum; (c) atrial contraction occurs before the arterial upstroke.

⚡ 5-Second Recall: Dicrotic notch: aortic valve closes 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: Which statement about arterial waveform interpretation is correct

(a) changes in the waveform shape and pulse pressure provide clinically useful information beyond the numeric values

(b) the waveform is the same regardless of the patient's condition

(c) waveform analysis is only useful during surgery

(d) only the systolic number matters

Answer: a

Solution: ✅ Correct Answer: a. Changes in the waveform shape and pulse pressure provide clinically useful information beyond the numeric values.

🧠 Clinical Rationale: Pulse pressure and contour changes, such as in sepsis or tamponade, add diagnostic information 🫀.

🔍 Key Clues: Read the shape, not just the number.

❌ Why Not Others: (d) diastolic and mean pressures also guide therapy; (b) waveform varies with physiology; (c) waveform monitoring is valuable throughout ICU care.

⚡ 5-Second Recall: The shape tells the story 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: The nurse is asked to zero and level a newly inserted arterial line. The correct order is

(a) zero first, then level at any height

(b) level at the bed base, then zero

(c) zero after collecting the first sample

(d) position the patient, level the transducer to the phlebostatic axis, then zero to air

Answer: d

Solution: ✅ Correct Answer: d. Position the patient, level the transducer to the phlebostatic axis, then zero to air.

🧠 Clinical Rationale: Position determines the reference point, and zeroing removes atmospheric offset once the level is set 🫀.

🚨 Priority Principle: Position, level, zero: in that order.

❌ Why Not Others: (a) zeroing at an arbitrary height leaves a levelling error; (b) the bed base is not a reference point; (c) zeroing after sampling reverses the correct sequence.

⚡ 5-Second Recall: Position, level, zero 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: When a patient is turned to the lateral position for an arterial pressure measurement, the nurse should

(a) accept a 15 mmHg error as normal

(b) keep the transducer at the old height

(c) re-level the transducer to the phlebostatic axis in the new position

(d) measure only in the supine position

Answer: c

Solution: ✅ Correct Answer: c. Re-level the transducer to the phlebostatic axis in the new position.

🧠 Clinical Rationale: The right atrium moves with position change, so the transducer must be re-levelled to avoid hydrostatic error 🫀.

🚨 Priority Principle: New position, new level.

❌ Why Not Others: (b) keeping the old height introduces error; (d) lateral positions are acceptable when re-levelled; (a) a 15 mmHg error is not acceptable.

⚡ 5-Second Recall: Re-level after every position change 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: A patient's central venous pressure waveform shows a large v wave. This may indicate

(a) hypovolaemia

(b) a normal variant only

(c) tricuspid regurgitation

(d) aortic stenosis

Answer: c

Solution: ✅ Correct Answer: c. Tricuspid regurgitation.

🧠 Clinical Rationale: Regurgitant flow into the right atrium during systole amplifies the v wave 🫀.

🔍 Key Clues: Large v wave: tricuspid regurgitation.

❌ Why Not Others: (b) it is an abnormal pattern; (a) hypovolaemia lowers filling pressures rather than enlarging the v wave; (d) aortic stenosis affects the arterial waveform.

⚡ 5-Second Recall: Big v wave: tricuspid regurgitation 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: A central venous pressure tracing shows waves labelled a, c and v corresponding to

(a) ventricular contraction only

(b) aortic events

(c) atrial contraction, tricuspid valve closure and atrial filling

(d) pulmonary artery events

Answer: c

Solution: ✅ Correct Answer: c. Atrial contraction, tricuspid valve closure and atrial filling.

🧠 Clinical Rationale: The a wave reflects atrial contraction, the c wave tricuspid closure and the v wave atrial filling against a closed valve 🩸.

🔍 Key Clues: a, c, v: atrial events.

❌ Why Not Others: (a) ventricular contraction corresponds to the c wave timing only; (b) aortic events belong to the arterial trace; (d) pulmonary artery waveforms differ in shape and pressure.

⚡ 5-Second Recall: CVP waves: a, c, v 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: The nurse should perform a square wave test when

(a) the arterial trace appears dampened or the values seem inconsistent

(b) once a week

(c) at the start of every shift regardless of appearance

(d) only after catheter removal

Answer: a

Solution: ✅ Correct Answer: a. The arterial trace appears dampened or the values seem inconsistent.

🧠 Clinical Rationale: The square wave test evaluates system response when there is doubt about accuracy rather than as a routine ritual 🩸.

🔍 Key Clues: Test when in doubt.

❌ Why Not Others: (c) routine testing without concern adds little; (b) weekly testing is arbitrary; (d) testing after removal is pointless.

⚡ 5-Second Recall: Square wave when the trace looks wrong 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: The square wave test is used to assess

(a) the accuracy of the blood pressure cuff

(b) the dynamic response of the monitoring system

(c) the patency of the intravenous line

(d) the patient's cardiac output

Answer: b

Solution: ✅ Correct Answer: b. The dynamic response of the monitoring system.

🧠 Clinical Rationale: The square wave test shows whether the system is over-damped, optimally damped or under-damped 🩸.

🔍 Key Clues: Square wave: system response.

❌ Why Not Others: (d) cardiac output requires thermodilution or another method; (a) cuff accuracy is checked differently; (c) intravenous patency relates to the venous line.

⚡ 5-Second Recall: Square wave tests the system 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: The most important nursing action to prevent air embolism when handling a central venous line is

(a) keeping the line clamped when not in use and using Luer-lock connections

(b) flushing rapidly with air in the syringe

(c) changing tubing without clamping

(d) leaving the hub uncapped

Answer: a

Solution: ✅ Correct Answer: a. Keeping the line clamped when not in use and using Luer-lock connections.

🧠 Clinical Rationale: Negative intrathoracic pressure can draw air into a venous line, causing fatal embolism 🫁.

🚨 Priority Principle: Clamp the lumen, lock the connection.

❌ Why Not Others: (b) air in the syringe causes embolism; (d) an uncapped hub permits air entry; (c) changing tubing without clamping introduces air.

⚡ 5-Second Recall: Venous lines: clamp and lock 🎯

📚 Ref: Lewis Medical-Surgical Nursing.

Positive Marks: 1

Negative Marks: 0.33

Question: Which patient most clearly benefits from invasive arterial monitoring

(a) a patient with a minor laceration

(b) a patient in shock requiring vasopressors and frequent arterial blood gases

(c) a stable patient awaiting discharge

(d) a patient needing a single blood pressure reading

Answer: b

Solution: ✅ Correct Answer: b. A patient in shock requiring vasopressors and frequent arterial blood gases.

🧠 Clinical Rationale: Continuous beat-to-beat monitoring and sampling access are essential in haemodynamically unstable patients 🩸.

🔍 Key Clues: Unstable plus frequent gases: arterial line.

❌ Why Not Others: (c) a stable patient does not need invasive monitoring; (d) a single reading can be obtained non-invasively; (a) a laceration does not require arterial access.

⚡ 5-Second Recall: Shock plus gases: arterial line 🎯

📚 Ref: Surviving Sepsis Campaign 2026.

Positive Marks: 1

Negative Marks: 0.33

Question: Arterial blood sampling from an indwelling arterial line should be preceded by

(a) disconnecting the transducer

(b) drawing the sample immediately

(c) injecting air into the line

(d) flushing the line to remove flush solution and discarding the first few millilitres

Answer: d

Solution: ✅ Correct Answer: d. Flushing the line to remove flush solution and discarding the first few millilitres.

🧠 Clinical Rationale: Discarding the dead-space volume prevents dilution of the sample by flush solution and heparin 🩸.

🔍 Key Clues: Discard first, then sample.

❌ Why Not Others: (b) an immediate sample is diluted and inaccurate; (c) injecting air causes embolism; (a) disconnecting the transducer loses the pressure trace and risks air entry.

⚡ 5-Second Recall: ABG from line: discard first 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: The phlebostatic axis is located at the

(a) second intercostal space at the sternal edge

(b) fourth intercostal space at the midaxillary line

(c) level of the xiphisternum

(d) fifth intercostal space at the anterior axillary line

Answer: b

Solution: ✅ Correct Answer: b. The fourth intercostal space at the midaxillary line.

🧠 Clinical Rationale: This landmark approximates the level of the right atrium and is the standard zero reference 🫀.

🔍 Key Clues: Phlebostatic axis: fourth space, midaxillary.

❌ Why Not Others: (a) the second space is too high and near the aorta; (d) the fifth anterior axillary space is the cardiac apex area, not the reference level; (c) the xiphisternum is not the reference point.

⚡ 5-Second Recall: Phlebostatic axis: fourth space midaxillary 🎯

📚 Ref: Lewis Medical-Surgical Nursing.

Positive Marks: 1

Negative Marks: 0.33

Question: The mean arterial pressure is calculated as

(a) the systolic pressure divided by two

(b) one third of the pulse pressure plus the diastolic pressure

(c) the systolic pressure minus the diastolic pressure

(d) the average of systolic and diastolic pressures

Answer: b

Solution: ✅ Correct Answer: b. One third of the pulse pressure plus the diastolic pressure.

🧠 Clinical Rationale: Mean arterial pressure approximates perfusion pressure as diastolic plus one third of the pulse pressure 🫀.

🔍 Key Clues: MAP equals DBP plus a third of pulse pressure.

❌ Why Not Others: (c) that difference is the pulse pressure; (d) a simple average underestimates the time spent in diastole; (a) halving the systolic ignores diastolic pressure.

⚡ 5-Second Recall: MAP: DBP plus one third pulse pressure 🎯

📚 Ref: Surviving Sepsis Campaign 2026.

Positive Marks: 1

Negative Marks: 0.33

Question: The systolic upstroke of the arterial waveform corresponds to

(a) aortic valve closure

(b) atrial contraction

(c) ventricular contraction and ejection

(d) diastolic run-off

Answer: c

Solution: ✅ Correct Answer: c. Ventricular contraction and ejection.

🧠 Clinical Rationale: The steep upstroke reflects the rapid rise in aortic pressure during ventricular ejection 🫀.

🔍 Key Clues: Upstroke equals ejection.

❌ Why Not Others: (b) atrial contraction occurs before the upstroke; (a) valve closure produces the dicrotic notch; (d) diastolic run-off follows the notch.

⚡ 5-Second Recall: Upstroke: ventricular ejection 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: A sudden rise in central venous pressure with a falling blood pressure and distended neck veins suggests

(a) cardiac tamponade or tension pneumothorax

(b) normal filling pressures

(c) anaphylaxis

(d) hypovolaemic shock

Answer: a

Solution: ✅ Correct Answer: a. Cardiac tamponade or tension pneumothorax.

🧠 Clinical Rationale: Obstructive shock raises right-sided pressures while reducing cardiac output and systemic pressure 🫀.

🚨 Priority Principle: High CVP plus shock: think obstruction.

❌ Why Not Others: (d) hypovolaemia lowers filling pressures; (c) anaphylaxis causes distributive shock with low filling pressures; (b) these findings are not normal.

⚡ 5-Second Recall: High CVP and low blood pressure: obstruction 🎯

📚 Ref: Surviving Sepsis Campaign 2026; ATLS.

Positive Marks: 1

Negative Marks: 0.33

Question: Which of these best prevents catheter-related thrombosis in an arterial line

(a) leaving the line unflushed

(b) continuous pressurised flush and regular assessment of the limb and trace

(c) frequent large-volume flushes

(d) routine heparin boluses

Answer: b

Solution: ✅ Correct Answer: b. Continuous pressurised flush and regular assessment of the limb and trace.

🧠 Clinical Rationale: Constant slow flush maintains patency, and monitoring detects early thrombosis 🩸.

🔍 Key Clues: Continuous flush prevents clot.

❌ Why Not Others: (d) routine heparin boluses are not standard practice; (a) an unflushed line clots quickly; (c) large-volume flushes risk embolism and fluid load.

⚡ 5-Second Recall: Flush continuously, assess often 🎯

📚 Ref: ICU monitoring texts.

Positive Marks: 1

Negative Marks: 0.33

Question: The main infection-control measure for arterial and central lines is

(a) prophylactic antibiotics

(b) covering the site with a soiled dressing for longer periods

(c) strict hand hygiene and aseptic technique for every access and dressing change

(d) routine line changes every 24 hours

Answer: c

Solution: ✅ Correct Answer: c. Strict hand hygiene and aseptic technique for every access and dressing change.

🧠 Clinical Rationale: Hand hygiene and asepsis at every manipulation are the most effective measures against line infection 🩸.

🚨 Priority Principle: Asepsis at every touch.

❌ Why Not Others: (d) routine line changes increase complications without reducing infection; (a) prophylaxis promotes resistance; (b) soiled dressings must be changed immediately.

⚡ 5-Second Recall: Asepsis at every access 🎯

📚 Ref: CDC/ICMR guidelines; epic3.

Positive Marks: 1

Negative Marks: 0.33